## Size
Component | Unit | Total
PV panels | kW | 57.53
Battery bank | kWh | 0
Diesel Genset | kW | 22.63

## Cost
Cost item | Component | Scenario | Unit | Total
Weighted Net present cost | System | - | kUSD | 97.386
Net present cost | System | 1 | kUSD | 97.386
Total Investment cost | System | - | kUSD | 97.025
Total fixed O&M cost | System | - | kUSD | 20.615
Total variable O&M cost | System | 1 | kUSD | -17.777
Salvage value | System | - | kUSD | -2.478
Levelized Cost of Energy | System | - | USD/kWh | 0.1379
Levelized Cost of Energy scenarios | System | 1 | USD/kWh | 0.1102
Investment cost | PV panels | - | kUSD | 69.038
| Battery bank | - | kUSD | 0.001
| Diesel Genset | - | kUSD | 11.316
| National grid | - | kUSD | 16.67
Fixed cost | PV panels | - | kUSD | 11.755
| Battery bank | - | kUSD | 0
| Diesel Genset | - | kUSD | 6.021
| National Grid | - | kUSD | 2.838
Lost load cost | System | 1 | kUSD | 0
Replacement cost | Battery bank | 1 | kUSD | 0
Fuel cost | Diesel | 1 | kUSD | 0.713
Grid electricity cost | National Grid | 1 | kUSD | 93.472
Grid electricity revenue | National Grid | 1 | kUSD | 111.962
Fuel CO2 emission | System | 1 | ton | 4.069
Grid CO2 emission | System | 1 | ton | 222.623
RES CO2 emission | RES | - | ton | 0
GEN CO2 emission | GEN | - | ton | 0
BESS CO2 emission | BESS | - | ton | 0
TOTAL CO2 emission | System | 1 | ton | 226.692

## Yearly cash flows
| Fixed costs |  |  |  | Lost load cost | Replacement cost | Fuel cost | Grid cost | Grid revenue
Component | PV panels | Battery bank | Diesel Genset | Grid | System | Battery bank | Diesel | Grid | Grid
Scenario | - | - | - | - | 1 | 1 | 1 | 1 | 1
Unit | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD
Year 1 | 1.38 | 0 | 0.71 | 0.33 | 0 | 0 | 0.07 | 10.97 | 13.12
Year 2 | 1.38 | 0 | 0.71 | 0.33 | 0 | 0 | 0.17 | 10.92 | 13.06
Year 3 | 1.38 | 0 | 0.71 | 0.33 | 0 | 0 | 0.16 | 10.93 | 13.15
Year 4 | 1.38 | 0 | 0.71 | 0.33 | 0 | 0 | 0.04 | 10.99 | 13.17
Year 5 | 1.38 | 0 | 0.71 | 0.33 | 0 | 0 | 0.06 | 10.99 | 13.12
Year 6 | 1.38 | 0 | 0.71 | 0.33 | 0 | 0 | 0.07 | 10.98 | 13.19
Year 7 | 1.38 | 0 | 0.71 | 0.33 | 0 | 0 | 0.08 | 10.98 | 13.14
Year 8 | 1.38 | 0 | 0.71 | 0.33 | 0 | 0 | 0.11 | 10.96 | 13.16
Year 9 | 1.38 | 0 | 0.71 | 0.33 | 0 | 0 | 0.05 | 11 | 13.12
Year 10 | 1.38 | 0 | 0.71 | 0.33 | 0 | 0 | 0.04 | 11.01 | 13.14
Year 11 | 1.38 | 0 | 0.71 | 0.33 | 0 | 0 | 0.08 | 10.99 | 13.17
Year 12 | 1.38 | 0 | 0.71 | 0.33 | 0 | 0 | 0.06 | 11 | 13.16
Year 13 | 1.38 | 0 | 0.71 | 0.33 | 0 | 0 | 0.07 | 11 | 13.19
Year 14 | 1.38 | 0 | 0.71 | 0.33 | 0 | 0 | 0.13 | 10.97 | 13.16
Year 15 | 1.38 | 0 | 0.71 | 0.33 | 0 | 0 | 0.06 | 11.02 | 13.21
Year 16 | 1.38 | 0 | 0.71 | 0.33 | 0 | 0 | 0.03 | 11.04 | 13.23
Year 17 | 1.38 | 0 | 0.71 | 0.33 | 0 | 0 | 0.02 | 11.05 | 13.22
Year 18 | 1.38 | 0 | 0.71 | 0.33 | 0 | 0 | 0.09 | 11.02 | 13.18
Year 19 | 1.38 | 0 | 0.71 | 0.33 | 0 | 0 | 0.07 | 11.03 | 13.26
Year 20 | 1.38 | 0 | 0.71 | 0.33 | 0 | 0 | 0.06 | 11.04 | 13.24

## Yearly energy parameters
| Generators share | Renewables penetration | Curtailment share | Battery usage | Grid usage
| % | % | % | % | %
Year 1 | 0.19 | 66.76 | 0.35 | 0 | 55.1
Year 2 | 0.47 | 66.75 | 0.64 | 0 | 54.82
Year 3 | 0.44 | 66.75 | 0.26 | 0 | 54.87
Year 4 | 0.12 | 66.75 | 0.14 | 0 | 55.2
Year 5 | 0.16 | 66.74 | 0.39 | 0 | 55.17
Year 6 | 0.21 | 66.74 | 0.09 | 0 | 55.13
Year 7 | 0.22 | 66.73 | 0.31 | 0 | 55.13
Year 8 | 0.32 | 66.73 | 0.26 | 0 | 55.05
Year 9 | 0.14 | 66.72 | 0.44 | 0 | 55.24
Year 10 | 0.11 | 66.72 | 0.38 | 0 | 55.28
Year 11 | 0.24 | 66.71 | 0.23 | 0 | 55.17
Year 12 | 0.17 | 66.7 | 0.29 | 0 | 55.26
Year 13 | 0.2 | 66.69 | 0.17 | 0 | 55.24
Year 14 | 0.37 | 66.69 | 0.35 | 0 | 55.1
Year 15 | 0.17 | 66.68 | 0.14 | 0 | 55.32
Year 16 | 0.09 | 66.67 | 0.07 | 0 | 55.43
Year 17 | 0.06 | 66.65 | 0.13 | 0 | 55.48
Year 18 | 0.24 | 66.64 | 0.33 | 0 | 55.33
Year 19 | 0.2 | 66.63 | 0.03 | 0 | 55.4
Year 20 | 0.18 | 66.62 | 0.14 | 0 | 55.46

## Yearly energy parameters SC
| Generator share | Renewable penetration | Curtailment share | Battery usage | Grid usage
Component | Diesel Genset | PV panels | - | Battery bank | Grid
Scenario | 1 | 1 | 1 | 1 | 1
| % | % | % | % | %
Year 1 | 0.19 | 66.76 | 0.35 | 0 | 55.1
Year 2 | 0.47 | 66.75 | 0.64 | 0 | 54.82
Year 3 | 0.44 | 66.75 | 0.26 | 0 | 54.87
Year 4 | 0.12 | 66.75 | 0.14 | 0 | 55.2
Year 5 | 0.16 | 66.74 | 0.39 | 0 | 55.17
Year 6 | 0.21 | 66.74 | 0.09 | 0 | 55.13
Year 7 | 0.22 | 66.73 | 0.31 | 0 | 55.13
Year 8 | 0.32 | 66.73 | 0.26 | 0 | 55.05
Year 9 | 0.14 | 66.72 | 0.44 | 0 | 55.24
Year 10 | 0.11 | 66.72 | 0.38 | 0 | 55.28
Year 11 | 0.24 | 66.71 | 0.23 | 0 | 55.17
Year 12 | 0.17 | 66.7 | 0.29 | 0 | 55.26
Year 13 | 0.2 | 66.69 | 0.17 | 0 | 55.24
Year 14 | 0.37 | 66.69 | 0.35 | 0 | 55.1
Year 15 | 0.17 | 66.68 | 0.14 | 0 | 55.32
Year 16 | 0.09 | 66.67 | 0.07 | 0 | 55.43
Year 17 | 0.06 | 66.65 | 0.13 | 0 | 55.48
Year 18 | 0.24 | 66.64 | 0.33 | 0 | 55.33
Year 19 | 0.2 | 66.63 | 0.03 | 0 | 55.4
Year 20 | 0.18 | 66.62 | 0.14 | 0 | 55.46