## Size
Component | Unit | Total
PV panels | kW | 58.18
Battery bank | kWh | 205.62
Diesel Genset | kW | 3.98

## Cost
Cost item | Component | Scenario | Unit | Total
Net present cost | System | - | kUSD | 210.224
Total Investment cost | System | - | kUSD | 122.81
Total fixed O&M cost | System | - | kUSD | 47.746
Total variable O&M cost | System | - | kUSD | 39.668
Salvage value | System | - | kUSD | 0
Levelized Cost of Energy | System | - | USD/kWh | 0.2976
Investment cost | PV panels | - | kUSD | 69.811
| Battery bank | - | kUSD | 51.405
| Diesel Genset | - | kUSD | 1.594
| National grid | - | kUSD | 0
Fixed cost | PV panels | - | kUSD | 11.887
| Battery bank | - | kUSD | 4.112
| Diesel Genset | - | kUSD | 0.848
| National Grid | - | kUSD | 0
Lost load cost | System | 1 | kUSD | 0
Replacement cost | Battery bank | 1 | kUSD | 11.62
Fuel cost | Diesel | 1 | kUSD | 28.048
Grid electricity cost | National Grid | - | kUSD | 0
Grid electricity revenue | National Grid | - | kUSD | 0

## Yearly cash flows
| Fixed costs |  |  |  | Lost load cost | Replacement cost | Fuel cost | Grid cost | Grid revenue
Component | PV panels | Battery bank | Diesel Genset | Grid | System | Battery bank | Diesel | Grid | Grid
Scenario | - | - | - | - | 1 | 1 | 1 | 1 | 1
Unit | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD
Year 1 | 1.4 | 4.11 | 0.1 | 0 | 0 | 1.36 | 3.28 | 0 | 0
Year 2 | 1.4 | 4.11 | 0.1 | 0 | 0 | 1.36 | 3.3 | 0 | 0
Year 3 | 1.4 | 4.11 | 0.1 | 0 | 0 | 1.36 | 3.3 | 0 | 0
Year 4 | 1.4 | 4.11 | 0.1 | 0 | 0 | 1.36 | 3.3 | 0 | 0
Year 5 | 1.4 | 4.11 | 0.1 | 0 | 0 | 1.36 | 3.3 | 0 | 0
Year 6 | 1.4 | 4.11 | 0.1 | 0 | 0 | 1.36 | 3.3 | 0 | 0
Year 7 | 1.4 | 4.11 | 0.1 | 0 | 0 | 1.36 | 3.3 | 0 | 0
Year 8 | 1.4 | 4.11 | 0.1 | 0 | 0 | 1.36 | 3.3 | 0 | 0
Year 9 | 1.4 | 4.11 | 0.1 | 0 | 0 | 1.36 | 3.3 | 0 | 0
Year 10 | 1.4 | 4.11 | 0.1 | 0 | 0 | 1.36 | 3.3 | 0 | 0
Year 11 | 1.4 | 4.11 | 0.1 | 0 | 0 | 1.36 | 3.3 | 0 | 0
Year 12 | 1.4 | 4.11 | 0.1 | 0 | 0 | 1.36 | 3.3 | 0 | 0
Year 13 | 1.4 | 4.11 | 0.1 | 0 | 0 | 1.36 | 3.3 | 0 | 0
Year 14 | 1.4 | 4.11 | 0.1 | 0 | 0 | 1.36 | 3.3 | 0 | 0
Year 15 | 1.4 | 4.11 | 0.1 | 0 | 0 | 1.36 | 3.3 | 0 | 0
Year 16 | 1.4 | 4.11 | 0.1 | 0 | 0 | 1.36 | 3.3 | 0 | 0
Year 17 | 1.4 | 4.11 | 0.1 | 0 | 0 | 1.36 | 3.3 | 0 | 0
Year 18 | 1.4 | 4.11 | 0.1 | 0 | 0 | 1.36 | 3.3 | 0 | 0
Year 19 | 1.4 | 4.11 | 0.1 | 0 | 0 | 1.36 | 3.3 | 0 | 0
Year 20 | 1.4 | 4.11 | 0.1 | 0 | 0 | 1.36 | 3.3 | 0 | 0

## Yearly energy parameters
| Generators share | Renewables penetration | Curtailment share | Battery usage | Grid usage
| % | % | % | % | %
Year 1 | 9.38 | 92.29 | 12.04 | 45.84 | 0
Year 2 | 9.44 | 92.24 | 11.96 | 45.78 | 0
Year 3 | 9.44 | 92.24 | 11.96 | 45.78 | 0
Year 4 | 9.44 | 92.24 | 11.96 | 45.78 | 0
Year 5 | 9.44 | 92.24 | 11.96 | 45.78 | 0
Year 6 | 9.44 | 92.24 | 11.96 | 45.78 | 0
Year 7 | 9.44 | 92.24 | 11.96 | 45.78 | 0
Year 8 | 9.44 | 92.24 | 11.96 | 45.78 | 0
Year 9 | 9.44 | 92.24 | 11.96 | 45.78 | 0
Year 10 | 9.44 | 92.24 | 11.96 | 45.78 | 0
Year 11 | 9.44 | 92.24 | 11.96 | 45.78 | 0
Year 12 | 9.44 | 92.24 | 11.96 | 45.78 | 0
Year 13 | 9.44 | 92.24 | 11.96 | 45.78 | 0
Year 14 | 9.44 | 92.24 | 11.96 | 45.78 | 0
Year 15 | 9.44 | 92.24 | 11.96 | 45.78 | 0
Year 16 | 9.44 | 92.24 | 11.96 | 45.78 | 0
Year 17 | 9.44 | 92.24 | 11.96 | 45.78 | 0
Year 18 | 9.44 | 92.24 | 11.96 | 45.78 | 0
Year 19 | 9.44 | 92.24 | 11.96 | 45.78 | 0
Year 20 | 9.44 | 92.24 | 11.96 | 45.78 | 0