## Size
Component | Unit | Total
Solar PV | kW | 72.8
Battery bank | kWh | 242.53
Diesel Genset 1 | kW | 15.86

## Cost
Total
Weighted Net present cost | System | - | kUSD | 167.454
Net present cost | System | 1 | kUSD | 167.454
Total Investment cost | System | - | kUSD | 111.883
Total fixed O&M cost | System | - | kUSD | 19.163
Total variable O&M cost | System | 1 | kUSD | 36.769
Salvage value | System | - | kUSD | -0.361
Levelized Cost of Energy | System | - | USD/kWh | 0.3252
Levelized Cost of Energy scenarios | System | 1 | USD/kWh | 0.3252
Investment cost | Solar PV | - | kUSD | 69.158
| Battery bank | - | kUSD | 36.38
| Diesel Genset 1 | - | kUSD | 6.345
Fixed cost | Solar PV | - | kUSD | 6.062
| Battery bank | - | kUSD | 10.629
| Diesel Genset 1 | - | kUSD | 2.472
Lost load cost | System | 1 | kUSD | 0
Replacement cost | Battery bank | 1 | kUSD | 5.488
Fuel cost | Diesel | 1 | kUSD | 31.281
Fuel CO2 emission | System | 1 | ton | 329.079
RES CO2 emission | RES | - | ton | 0
GEN CO2 emission | GEN | - | ton | 0
BESS CO2 emission | BESS | - | ton | 0
TOTAL CO2 emission | System | 1 | ton | 329.079

## Yearly cash flows
| Fixed costs |  |  | Lost load cost | Replacement cost | Fuel cost
Component | Solar PV | Battery bank | Diesel Genset 1 | System | Battery bank | Diesel
Scenario | - | - | - | 1 | 1 | 1
Unit | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD
Year 1 | 1.24 | 2.18 | 0.51 | 0 | 0.93 | 0
Year 2 | 1.24 | 2.18 | 0.51 | 0 | 0.98 | 0
Year 3 | 1.24 | 2.18 | 0.51 | 0 | 1.03 | 0.01
Year 4 | 1.24 | 2.18 | 0.51 | 0 | 1.09 | 0.03
Year 5 | 1.24 | 2.18 | 0.51 | 0 | 1.15 | 0.09
Year 6 | 1.24 | 2.18 | 0.51 | 0 | 1.2 | 0.2
Year 7 | 1.24 | 2.18 | 0.51 | 0 | 1.26 | 0.5
Year 8 | 1.24 | 2.18 | 0.51 | 0 | 1.32 | 1.1
Year 9 | 1.24 | 2.18 | 0.51 | 0 | 1.36 | 2.37
Year 10 | 1.24 | 2.18 | 0.51 | 0 | 1.39 | 4.83
Year 11 | 1.24 | 2.18 | 0.51 | 0 | 1.39 | 9.04
Year 12 | 1.24 | 2.18 | 0.51 | 0 | 1.38 | 15.15
Year 13 | 1.24 | 2.18 | 0.51 | 0 | 1.36 | 22.97
Year 14 | 1.24 | 2.18 | 0.51 | 0 | 1.34 | 32.76
Year 15 | 1.24 | 2.18 | 0.51 | 0 | 1.31 | 44.9
Year 16 | 1.24 | 2.18 | 0.51 | 0 | 1.29 | 59.89
Year 17 | 1.24 | 2.18 | 0.51 | 0 | 1.26 | 78.53
Year 18 | 1.24 | 2.18 | 0.51 | 0 | 1.22 | 101.77
Year 19 | 1.24 | 2.18 | 0.51 | 0 | 1.2 | 130.33
Year 20 | 1.24 | 2.18 | 0.51 | 0 | 1.19 | 165.22

## Yearly energy parameters
| Generators share | Renewables penetration | Curtailment share | Battery usage
| % | % | % | %
Year 1 | 0 | 100 | 40.85 | 52.82
Year 2 | 0.01 | 99.99 | 37.77 | 52.95
Year 3 | 0.03 | 99.98 | 34.67 | 53.1
Year 4 | 0.06 | 99.96 | 31.41 | 53.26
Year 5 | 0.15 | 99.89 | 28.02 | 53.39
Year 6 | 0.31 | 99.77 | 24.52 | 53.46
Year 7 | 0.66 | 99.49 | 20.97 | 53.36
Year 8 | 1.26 | 98.99 | 17.45 | 53.02
Year 9 | 2.34 | 98.03 | 14.18 | 52.2
Year 10 | 4.14 | 96.41 | 11.44 | 50.68
Year 11 | 6.7 | 94.05 | 9.38 | 48.4
Year 12 | 9.72 | 91.2 | 7.83 | 45.67
Year 13 | 12.77 | 88.26 | 6.44 | 42.92
Year 14 | 15.77 | 85.29 | 5.18 | 40.23
Year 15 | 18.71 | 82.32 | 4.01 | 37.62
Year 16 | 21.61 | 79.33 | 2.97 | 35.06
Year 17 | 24.53 | 76.3 | 2.1 | 32.59
Year 18 | 27.52 | 73.21 | 1.46 | 30.26
Year 19 | 30.51 | 70.13 | 0.98 | 28.15
Year 20 | 33.49 | 67.08 | 0.61 | 26.65

## Yearly energy parameters SC
| Generator share | Renewable penetration | Curtailment share | Battery usage
Component | Diesel Genset 1 | Solar PV | - | Battery bank
Scenario | 1 | 1 | 1 | 1
| % | % | % | %
Year 1 | 0 | 100 | 40.85 | 52.82
Year 2 | 0.01 | 99.99 | 37.77 | 52.95
Year 3 | 0.03 | 99.98 | 34.67 | 53.1
Year 4 | 0.06 | 99.96 | 31.41 | 53.26
Year 5 | 0.15 | 99.89 | 28.02 | 53.39
Year 6 | 0.31 | 99.77 | 24.52 | 53.46
Year 7 | 0.66 | 99.49 | 20.97 | 53.36
Year 8 | 1.26 | 98.99 | 17.45 | 53.02
Year 9 | 2.34 | 98.03 | 14.18 | 52.2
Year 10 | 4.14 | 96.41 | 11.44 | 50.68
Year 11 | 6.7 | 94.05 | 9.38 | 48.4
Year 12 | 9.72 | 91.2 | 7.83 | 45.67
Year 13 | 12.77 | 88.26 | 6.44 | 42.92
Year 14 | 15.77 | 85.29 | 5.18 | 40.23
Year 15 | 18.71 | 82.32 | 4.01 | 37.62
Year 16 | 21.61 | 79.33 | 2.97 | 35.06
Year 17 | 24.53 | 76.3 | 2.1 | 32.59
Year 18 | 27.52 | 73.21 | 1.46 | 30.26
Year 19 | 30.51 | 70.13 | 0.98 | 28.15
Year 20 | 33.49 | 67.08 | 0.61 | 26.65