## Project Info
0
NPC | 967115.1977
Total actualized Operation cost | 795172.9401
LCOE | 0.36974

## Upgrades Info
Upgrade 1
Battery Nominal Capacity [kWh] | 17.419
Generator Nominal Capacity [kW] | 104.7527
Renewable 1 Nominal Capacity [kW] | 92.8152
Renewable 2 Nominal Capacity [kW] | 0
Battery Investment [USD] | 12890.0519
Generator Investment [USD] | 44006.6115
Renewable 1 Investment [USD] | 342831.4122
Renewable 2 Investment [USD] | 0
Total Investment [USD] | 399728.0757

## Yearly Costs Info
| Battery O&M Cost | Generator O&M Cost | Renewable O&M Cost | Total O&M Cost | Fuel Cost | Battery Reposition Cost | Lost Load Cost
Year 1 | 257.801 | 4400.6612 | 6856.6282 | 11515.0904 | 147515.0489 | 927.8439 | 0
Year 2 | 257.801 | 4400.6612 | 6856.6282 | 11515.0904 | 147520.6098 | 983.7447 | 0
Year 3 | 257.801 | 4400.6612 | 6856.6282 | 11515.0904 | 147520.6098 | 1019.888 | 0
Year 4 | 257.801 | 4400.6612 | 6856.6282 | 11515.0904 | 147520.6098 | 1019.888 | 0
Year 5 | 257.801 | 4400.6612 | 6856.6282 | 11515.0904 | 147520.6098 | 1019.888 | 0

## Yearly Energy Averages
| Renewable Real Penetration | Curtailment % | Battery Usage
Year 1 | 0.39203 | 0.093455 | 0.0093257
Year 2 | 0.39202 | 0.093397 | 0.0098735
Year 3 | 0.39202 | 0.093362 | 0.010236
Year 4 | 0.39202 | 0.093362 | 0.010236
Year 5 | 0.39202 | 0.093362 | 0.010236