## Size
Component | Unit | Step 1 | Step 2 | Total
Solar PV | kW | 86.62 | 7.55 | 94.17
Battery bank | kWh | 189.62 | 0 | 189.62
Diesel Genset 1 | kW | 0 | 0 | 0

## Cost
|  |  |  | Total | Step 1 | Step 2
Weighted Net present cost | System | - | kUSD | 65.757 | - | -
Net present cost | System | 1 | kUSD | 65.757 | - | -
Total Investment cost | System | - | kUSD | 116.707 | - | -
Total fixed O&M cost | System | - | kUSD | 4.96 | - | -
Total variable O&M cost | System | 1 | kUSD | 1.445 | - | -
Salvage value | System | - | kUSD | -57.354 | - | -
Levelized Cost of Energy | System | - | USD/kWh | 0.5071 | - | -
Levelized Cost of Energy scenarios | System | 1 | USD/kWh | 0.5071 | - | -
Investment cost | Solar PV | - | kUSD | 88.264 | 82.287 | 5.977
| Battery bank | - | kUSD | 28.443 | 28.443 | 0
| Diesel Genset 1 | - | kUSD | 0 | 0 | 0
Fixed cost | Solar PV | - | kUSD | 2.353 | - | -
| Battery bank | - | kUSD | 2.607 | - | -
| Diesel Genset 1 | - | kUSD | 0 | - | -
Lost load cost | System | 1 | kUSD | 0 | - | -
Replacement cost | Battery bank | 1 | kUSD | 1.445 | - | -
Fuel cost | Diesel | 1 | kUSD | 0 | - | -
Fuel CO2 emission | System | 1 | ton | 0 | - | -
RES CO2 emission | RES | - | ton | 0 | - | -
GEN CO2 emission | GEN | - | ton | 0 | - | -
BESS CO2 emission | BESS | - | ton | 0 | - | -
TOTAL CO2 emission | System | 1 | ton | 0 | - | -

## Yearly cash flows
| Fixed costs |  |  | Lost load cost | Replacement cost | Fuel cost
Component | Solar PV | Battery bank | Diesel Genset 1 | System | Battery bank | Diesel
Scenario | - | - | - | 1 | 1 | 1
Unit | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD
Year 1 | 1.48 | 1.71 | 0 | 0 | 0.92 | 0
Year 2 | 1.61 | 1.71 | 0 | 0 | 0.97 | 0

## Yearly energy parameters
| Generators share | Renewables penetration | Curtailment share | Battery usage
| % | % | % | %
Year 1 | 0 | 100 | 50.27 | 52.46
Year 2 | 0 | 100 | 51.92 | 52.41

## Yearly energy parameters SC
| Generator share | Renewable penetration | Curtailment share | Battery usage
Component | Diesel Genset 1 | Solar PV | - | Battery bank
Scenario | 1 | 1 | 1 | 1
| % | % | % | %
Year 1 | 0 | 100 | 50.27 | 52.46
Year 2 | 0 | 100 | 51.92 | 52.41