## Size
Component | Unit | Step 1 | Step 2 | Step 3 | Step 4 | Total
Solar PV | kW | 48.07 | 8.89 | 0 | 0 | 56.96
Battery bank | kWh | 170.91 | 25.11 | 0.01 | 0 | 196.04
Diesel Genset 1 | kW | 4.93 | 1.46 | 0 | 7.49 | 13.87

## Cost
|  |  |  | Total | Step 1 | Step 2 | Step 3 | Step 4
Weighted Net present cost | System | - | kUSD | 112.488 | - | - | - | -
Net present cost | System | 1 | kUSD | 112.488 | - | - | - | -
Total Investment cost | System | - | kUSD | 79.965 | - | - | - | -
Total fixed O&M cost | System | - | kUSD | 13.252 | - | - | - | -
Total variable O&M cost | System | 1 | kUSD | 20.79 | - | - | - | -
Salvage value | System | - | kUSD | -1.519 | - | - | - | -
Levelized Cost of Energy | System | - | USD/kWh | 0.2184 | - | - | - | -
Levelized Cost of Energy scenarios | System | 1 | USD/kWh | 0.2155 | - | - | - | -
Investment cost | Solar PV | - | kUSD | 49.057 | 45.663 | 3.393 | 0 | 0
| Battery bank | - | kUSD | 27.151 | 25.636 | 1.514 | 0 | 0
| Diesel Genset 1 | - | kUSD | 2.4 | 1.972 | 0.234 | 0 | 0.194
| National Grid | - | kUSD | 11.398 | 7 | 2.813 | 1.131 | 0.454
Fixed cost | Solar PV | - | kUSD | 4.288 | - | - | - | -
| Battery bank | - | kUSD | 7.915 | - | - | - | -
| Diesel Genset 1 | - | kUSD | 0.902 | - | - | - | -
| National Grid | - | kUSD | 0.147 | - | - | - | -
Lost load cost | System | 1 | kUSD | 0 | - | - | - | -
Replacement cost | Battery bank | 1 | kUSD | 4.729 | - | - | - | -
Fuel cost | Diesel | 1 | kUSD | 10.908 | - | - | - | -
Grid electricity cost | National Grid | 1 | kUSD | 5.152 | - | - | - | -
Grid electricity revenue | National Grid | 1 | kUSD | 0 | - | - | - | -
Fuel CO2 emission | System | 1 | ton | 73.048 | - | - | - | -
Grid CO2 emission | System | 1 | ton | 93.932 | - | - | - | -
RES CO2 emission | RES | - | ton | 0 | - | - | - | -
GEN CO2 emission | GEN | - | ton | 0 | - | - | - | -
BESS CO2 emission | BESS | - | ton | 0 | - | - | - | -
TOTAL CO2 emission | System | 1 | ton | 166.98 | - | - | - | -

## Yearly cash flows
| Fixed costs |  |  |  | Lost load cost | Replacement cost | Fuel cost | Grid cost | Grid revenue
Component | Solar PV | Battery bank | Diesel Genset 1 | Grid | System | Battery bank | Diesel | Grid | Grid
Scenario | - | - | - | - | 1 | 1 | 1 | 1 | 1
Unit | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD
Year 1 | 0.82 | 1.54 | 0.16 | 0 | 0 | 0.92 | 0.73 | 0 | 0
Year 2 | 0.82 | 1.54 | 0.16 | 0 | 0 | 0.95 | 1.31 | 0 | 0
Year 3 | 0.82 | 1.54 | 0.16 | 0 | 0 | 0.95 | 2.22 | 0 | 0
Year 4 | 0.82 | 1.54 | 0.16 | 0 | 0 | 0.95 | 3.44 | 0 | 0
Year 5 | 0.82 | 1.54 | 0.16 | 0 | 0 | 0.93 | 4.86 | 0 | 0
Year 6 | 0.97 | 1.76 | 0.2 | 0 | 0 | 1.11 | 2.37 | 0 | 0
Year 7 | 0.97 | 1.76 | 0.2 | 0 | 0 | 1.1 | 3.75 | 0 | 0
Year 8 | 0.97 | 1.76 | 0.2 | 0 | 0 | 1.09 | 5.35 | 0 | 0
Year 9 | 0.97 | 1.76 | 0.2 | 0 | 0 | 1.07 | 7.08 | 0 | 0
Year 10 | 0.97 | 1.76 | 0.2 | 0.18 | 0 | 1.05 | 0.01 | 3.2 | 0
Year 11 | 0.97 | 1.76 | 0.2 | 0.18 | 0 | 1.02 | 0 | 3.93 | 0
Year 12 | 0.97 | 1.76 | 0.2 | 0.18 | 0 | 0.99 | 0.03 | 4.73 | 0
Year 13 | 0.97 | 1.76 | 0.2 | 0.18 | 0 | 0.96 | 0.04 | 5.6 | 0
Year 14 | 0.97 | 1.76 | 0.2 | 0.18 | 0 | 0.92 | 0.04 | 6.54 | 0
Year 15 | 0.97 | 1.76 | 0.2 | 0.18 | 0 | 0.87 | 0.1 | 7.53 | 0
Year 16 | 0.97 | 1.76 | 0.44 | 0.18 | 0 | 0.83 | 0.08 | 8.61 | 0
Year 17 | 0.97 | 1.76 | 0.44 | 0.18 | 0 | 0.78 | 0.08 | 9.76 | 0
Year 18 | 0.97 | 1.76 | 0.44 | 0.18 | 0 | 0.73 | 0.15 | 10.95 | 0
Year 19 | 0.97 | 1.76 | 0.44 | 0.18 | 0 | 0.67 | 0.16 | 12.24 | 0
Year 20 | 0.97 | 1.76 | 0.44 | 0.18 | 0 | 0.62 | 0.09 | 13.63 | 0

## Yearly energy parameters
| Generators share | Renewables penetration | Curtailment share | Battery usage | Grid usage
| % | % | % | % | %
Year 1 | 2.28 | 98.04 | 12.14 | 52.39 | 0
Year 2 | 3.91 | 96.52 | 9.1 | 51.04 | 0
Year 3 | 6.3 | 94.25 | 6.88 | 48.94 | 0
Year 4 | 9.3 | 91.36 | 5.33 | 46.28 | 0
Year 5 | 12.52 | 88.2 | 4.14 | 43.52 | 0
Year 6 | 5.83 | 94.77 | 8.49 | 49.28 | 0
Year 7 | 8.76 | 92 | 6.85 | 46.64 | 0
Year 8 | 11.91 | 88.95 | 5.54 | 43.84 | 0
Year 9 | 15.02 | 85.88 | 4.35 | 41.23 | 0
Year 10 | 0.03 | 82.81 | 3.95 | 38.28 | 18.03
Year 11 | 0.01 | 79.71 | 2.94 | 35.61 | 21.07
Year 12 | 0.05 | 76.54 | 2.15 | 32.87 | 24.13
Year 13 | 0.08 | 73.36 | 1.53 | 30.18 | 27.2
Year 14 | 0.07 | 70.22 | 1.03 | 27.53 | 30.26
Year 15 | 0.15 | 67.14 | 0.65 | 24.98 | 33.19
Year 16 | 0.13 | 64.14 | 0.36 | 22.53 | 36.15
Year 17 | 0.11 | 61.22 | 0.18 | 20.24 | 39.03
Year 18 | 0.21 | 58.4 | 0.08 | 17.97 | 41.72
Year 19 | 0.2 | 55.68 | 0.03 | 15.84 | 44.41
Year 20 | 0.11 | 53.08 | 0.02 | 13.89 | 47.09

## Yearly energy parameters SC
| Generator share | Renewable penetration | Curtailment share | Battery usage | Grid usage
Component | Diesel Genset 1 | Solar PV | - | Battery bank | Grid
Scenario | 1 | 1 | 1 | 1 | 1
| % | % | % | % | %
Year 1 | 2.28 | 98.04 | 12.14 | 52.39 | 0
Year 2 | 3.91 | 96.52 | 9.1 | 51.04 | 0
Year 3 | 6.3 | 94.25 | 6.88 | 48.94 | 0
Year 4 | 9.3 | 91.36 | 5.33 | 46.28 | 0
Year 5 | 12.52 | 88.2 | 4.14 | 43.52 | 0
Year 6 | 5.83 | 94.77 | 8.49 | 49.28 | 0
Year 7 | 8.76 | 92 | 6.85 | 46.64 | 0
Year 8 | 11.91 | 88.95 | 5.54 | 43.84 | 0
Year 9 | 15.02 | 85.88 | 4.35 | 41.23 | 0
Year 10 | 0.03 | 82.81 | 3.95 | 38.28 | 18.03
Year 11 | 0.01 | 79.71 | 2.94 | 35.61 | 21.07
Year 12 | 0.05 | 76.54 | 2.15 | 32.87 | 24.13
Year 13 | 0.08 | 73.36 | 1.53 | 30.18 | 27.2
Year 14 | 0.07 | 70.22 | 1.03 | 27.53 | 30.26
Year 15 | 0.15 | 67.14 | 0.65 | 24.98 | 33.19
Year 16 | 0.13 | 64.14 | 0.36 | 22.53 | 36.15
Year 17 | 0.11 | 61.22 | 0.18 | 20.24 | 39.03
Year 18 | 0.21 | 58.4 | 0.08 | 17.97 | 41.72
Year 19 | 0.2 | 55.68 | 0.03 | 15.84 | 44.41
Year 20 | 0.11 | 53.08 | 0.02 | 13.89 | 47.09