## Size
Component | Unit | Step 1 | Step 2 | Total
PV panels | kW | 2.67 | 2.67 | 5.35
Wind turbines | kW | 0 | 0 | 0
Battery bank | kWh | 10.2 | 10.2 | 20.4
Diesel Genset | kW | 4.56 | 4.56 | 9.11

## Cost
Cost item | Component | Scenario | Unit | Step 1 | Step 2 | Total
Net present cost | System | - | kUSD | - | - | 57.165
Total Investment cost | System | - | kUSD | - | - | 16.146
Total fixed O&M cost | System | - | kUSD | - | - | 3.098
Total variable O&M cost | System | - | kUSD | - | - | 37.921
Salvage value | System | - | kUSD | - | - | 0
Levelized Cost of Energy | System | - | USD/kWh | - | - | 0.3269
Investment cost | PV panels | - | kUSD | 10.699 | 0 | 10.699
| Wind turbines | - | kUSD | 0 | 0 | 0
| Battery bank | - | kUSD | 4.081 | 0 | 4.081
| Diesel Genset | - | kUSD | 1.367 | 0 | 1.367
Fixed cost | PV panels | - | kUSD | - | - | 1.822
| Wind turbines | - | kUSD | - | - | 0
| Battery bank | - | kUSD | - | - | 0.082
| Diesel Genset | - | kUSD | - | - | 0.582
Lost load cost | System | 1 | kUSD | - | - | 0
Replacement cost | Battery bank | 1 | kUSD | - | - | 0.912
Fuel cost | Diesel | 1 | kUSD | - | - | 37.009

## Yearly cash flows
| Fixed costs |  |  |  | Lost load cost | Replacement cost | Fuel cost
Component | PV panels | Wind turbines | Battery bank | Diesel Genset | System | Battery bank | Diesel
Scenario | - | - | - | - | 1 | 1 | 1
Unit | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD
Year 1 | 0.21 | 0 | 0.08 | 0.07 | 0 | 0.11 | 4.34
Year 2 | 0.21 | 0 | 0.08 | 0.07 | 0 | 0.11 | 4.35
Year 3 | 0.21 | 0 | 0.08 | 0.07 | 0 | 0.11 | 4.35
Year 4 | 0.21 | 0 | 0.08 | 0.07 | 0 | 0.11 | 4.35
Year 5 | 0.21 | 0 | 0.08 | 0.07 | 0 | 0.11 | 4.35
Year 6 | 0.21 | 0 | 0.08 | 0.07 | 0 | 0.11 | 4.35
Year 7 | 0.21 | 0 | 0.08 | 0.07 | 0 | 0.11 | 4.35
Year 8 | 0.21 | 0 | 0.08 | 0.07 | 0 | 0.11 | 4.35
Year 9 | 0.21 | 0 | 0.08 | 0.07 | 0 | 0.11 | 4.35
Year 10 | 0.21 | 0 | 0.08 | 0.07 | 0 | 0.11 | 4.35
Year 11 | 0.21 | 0 | 0.08 | 0.07 | 0 | 0.11 | 4.35
Year 12 | 0.21 | 0 | 0.08 | 0.07 | 0 | 0.11 | 4.35
Year 13 | 0.21 | 0 | 0.08 | 0.07 | 0 | 0.11 | 4.35
Year 14 | 0.21 | 0 | 0.08 | 0.07 | 0 | 0.11 | 4.35
Year 15 | 0.21 | 0 | 0.08 | 0.07 | 0 | 0.11 | 4.35
Year 16 | 0.21 | 0 | 0.08 | 0.07 | 0 | 0.11 | 4.35
Year 17 | 0.21 | 0 | 0.08 | 0.07 | 0 | 0.11 | 4.35
Year 18 | 0.21 | 0 | 0.08 | 0.07 | 0 | 0.11 | 4.35
Year 19 | 0.21 | 0 | 0.08 | 0.07 | 0 | 0.11 | 4.35
Year 20 | 0.21 | 0 | 0.08 | 0.07 | 0 | 0.11 | 4.35

## Yearly energy parameters
| Generators share | Renewables penetration | Curtailment share | Battery usage
| % | % | % | %
Year 1 | 56.77 | 46.03 | 4.17 | 10.04
Year 2 | 56.81 | 46.02 | 4.17 | 10.01
Year 3 | 56.81 | 46.02 | 4.17 | 10.01
Year 4 | 56.81 | 46.02 | 4.17 | 10.01
Year 5 | 56.81 | 46.02 | 4.17 | 10.01
Year 6 | 56.81 | 46.02 | 4.17 | 10.01
Year 7 | 56.81 | 46.02 | 4.17 | 10.01
Year 8 | 56.81 | 46.02 | 4.17 | 10.01
Year 9 | 56.81 | 46.02 | 4.17 | 10.01
Year 10 | 56.81 | 46.02 | 4.17 | 10.01
Year 11 | 56.81 | 46.02 | 4.17 | 10.01
Year 12 | 56.81 | 46.02 | 4.17 | 10.01
Year 13 | 56.81 | 46.02 | 4.17 | 10.01
Year 14 | 56.81 | 46.02 | 4.17 | 10.01
Year 15 | 56.81 | 46.02 | 4.17 | 10.01
Year 16 | 56.81 | 46.02 | 4.17 | 10.01
Year 17 | 56.81 | 46.02 | 4.17 | 10.01
Year 18 | 56.81 | 46.02 | 4.17 | 10.01
Year 19 | 56.81 | 46.02 | 4.17 | 10.01
Year 20 | 56.81 | 46.02 | 4.17 | 10.01