## Size
Component | Unit | Total
Solar PV | kW | 48.92
Wind | kW | 31.93
Battery bank | kWh | 135.45
Diesel Genset 1 | kW | 3.71
Diesel Genset 2 | kW | 3.71

## Cost
Cost item | Component | Scenario | Unit | Total
Weighted Net present cost | System | - | kUSD | 94.314
Net present cost | System | 1 | kUSD | 94.314
Total Investment cost | System | - | kUSD | 94.342
Total fixed O&M cost | System | - | kUSD | 10.607
Total variable O&M cost | System | 1 | kUSD | 11.677
Salvage value | System | - | kUSD | -22.312
Levelized Cost of Energy | System | - | USD/kWh | 0.35
Levelized Cost of Energy scenarios | System | 1 | USD/kWh | 0.35
Investment cost | Solar PV | - | kUSD | 46.474
| Wind | - | kUSD | 24.584
| Battery bank | - | kUSD | 20.317
| Diesel Genset 1 | - | kUSD | 1.483
| Diesel Genset 2 | - | kUSD | 1.483
Fixed cost | Solar PV | - | kUSD | 2.502
| Wind | - | kUSD | 3.75
| Battery bank | - | kUSD | 3.646
| Diesel Genset 1 | - | kUSD | 0.355
| Diesel Genset 2 | - | kUSD | 0.355
Lost load cost | System | 1 | kUSD | 0
Replacement cost | Battery bank | 1 | kUSD | 1.732
Fuel cost | Diesel | 1 | kUSD | 4.973
|  |  | kUSD | 4.973
Fuel CO2 emission | System | 1 | ton | 41.469
RES CO2 emission | RES | - | ton | 0
GEN CO2 emission | GEN | - | ton | 0
BESS CO2 emission | BESS | - | ton | 0
TOTAL CO2 emission | System | 1 | ton | 41.469

## Yearly cash flows
| Fixed costs |  |  |  |  | Lost load cost | Replacement cost | Fuel cost
Component | Solar PV | Wind | Battery bank | Diesel Genset 1 | Diesel Genset 2 | System | Battery bank | Diesel
Scenario | - | - | - | - | - | 1 | 1 | 1
Unit | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD
Year 1 | 0.84 | 1.25 | 1.22 | 0.12 | 0.12 | 0 | 0.57 | 2.08
Year 2 | 0.84 | 1.25 | 1.22 | 0.12 | 0.12 | 0 | 0.58 | 2.74
Year 3 | 0.84 | 1.25 | 1.22 | 0.12 | 0.12 | 0 | 0.58 | 3.5
Year 4 | 0.84 | 1.25 | 1.22 | 0.12 | 0.12 | 0 | 0.59 | 4.39
Year 5 | 0.84 | 1.25 | 1.22 | 0.12 | 0.12 | 0 | 0.59 | 5.4

## Yearly energy parameters
| Generators share | Renewables penetration | Curtailment share | Battery usage
| % | % | % | %
Year 1 | 7.6 | 94 | 20.12 | 32.08
Year 2 | 9.53 | 92.25 | 17.64 | 31.07
Year 3 | 11.61 | 90.3 | 15.38 | 30.01
Year 4 | 13.85 | 88.14 | 13.32 | 28.87
Year 5 | 16.23 | 85.79 | 11.45 | 27.7

## Yearly energy parameters SC
| Generator share |  | Renewable penetration |  | Curtailment share | Battery usage
Component | Diesel Genset 1 | Diesel Genset 2 | Solar PV | Wind | - | Battery bank
Scenario | 1 | 1 | 1 | 1 | 1 | 1
| % | % | % | % | % | %
Year 1 | 3.8 | 3.8 | 66.33 | 27.68 | 20.12 | 32.08
Year 2 | 4.77 | 4.77 | 65.09 | 27.16 | 17.64 | 31.07
Year 3 | 5.8 | 5.8 | 63.71 | 26.59 | 15.38 | 30.01
Year 4 | 6.93 | 6.93 | 62.19 | 25.95 | 13.32 | 28.87
Year 5 | 8.12 | 8.12 | 60.53 | 25.26 | 11.45 | 27.7