## Size
Component | Unit | Total
Solar PV | kW | 1.03
Wind | kW | 26.74
Battery bank | kWh | 47.91
Diesel Genset 1 | kW | 17.12

## Cost
Cost item | Component | Scenario | Unit | Total
Weighted Net present cost | System | - | kUSD | 52.553
Net present cost | System | 1 | kUSD | 52.553
Total Investment cost | System | - | kUSD | 35.608
Total fixed O&M cost | System | - | kUSD | 6.121
Total variable O&M cost | System | 1 | kUSD | 19.39
Salvage value | System | - | kUSD | -8.567
Levelized Cost of Energy | System | - | USD/kWh | 0.195
Levelized Cost of Energy scenarios | System | 1 | USD/kWh | 0.195
Investment cost | Solar PV | - | kUSD | 0.983
| Wind | - | kUSD | 20.593
| Battery bank | - | kUSD | 7.186
| Diesel Genset 1 | - | kUSD | 6.846
Fixed cost | Solar PV | - | kUSD | 0.053
| Wind | - | kUSD | 3.141
| Battery bank | - | kUSD | 1.289
| Diesel Genset 1 | - | kUSD | 1.638
Lost load cost | System | 1 | kUSD | 0
Replacement cost | Battery bank | 1 | kUSD | 0.44
Fuel cost | Diesel | 1 | kUSD | 18.95
Fuel CO2 emission | System | 1 | ton | 75.467
RES CO2 emission | RES | - | ton | 0
GEN CO2 emission | GEN | - | ton | 0
BESS CO2 emission | BESS | - | ton | 0
TOTAL CO2 emission | System | 1 | ton | 75.467

## Yearly cash flows
| Fixed costs |  |  |  | Lost load cost | Replacement cost | Fuel cost
Component | Solar PV | Wind | Battery bank | Diesel Genset 1 | System | Battery bank | Diesel
Scenario | - | - | - | - | 1 | 1 | 1
Unit | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD
Year 1 | 0.02 | 1.05 | 0.43 | 0.55 | 0 | 0.14 | 5.24
Year 2 | 0.02 | 1.05 | 0.43 | 0.55 | 0 | 0.14 | 5.85
Year 3 | 0.02 | 1.05 | 0.43 | 0.55 | 0 | 0.15 | 6.52
Year 4 | 0.02 | 1.05 | 0.43 | 0.55 | 0 | 0.16 | 7.26
Year 5 | 0.02 | 1.05 | 0.43 | 0.55 | 0 | 0.16 | 8.08

## Yearly energy parameters
| Generators share | Renewables penetration | Curtailment share | Battery usage
| % | % | % | %
Year 1 | 16.43 | 90.09 | 39.54 | 7.74
Year 2 | 17.45 | 89.08 | 37.21 | 7.69
Year 3 | 18.51 | 87.98 | 34.88 | 7.67
Year 4 | 19.64 | 86.79 | 32.55 | 7.65
Year 5 | 20.82 | 85.52 | 30.22 | 7.66

## Yearly energy parameters SC
| Generator share | Renewable penetration |  | Curtailment share | Battery usage
Component | Diesel Genset 1 | Solar PV | Wind | - | Battery bank
Scenario | 1 | 1 | 1 | 1 | 1
| % | % | % | % | %
Year 1 | 16.43 | 1.39 | 88.7 | 39.54 | 7.74
Year 2 | 17.45 | 1.38 | 87.7 | 37.21 | 7.69
Year 3 | 18.51 | 1.36 | 86.62 | 34.88 | 7.67
Year 4 | 19.64 | 1.34 | 85.45 | 32.55 | 7.65
Year 5 | 20.82 | 1.32 | 84.19 | 30.22 | 7.66