## Size
Component | Unit | Step 1 | Step 2 | Step 3 | Step 4 | Total
Solar PV | kW | 49.07 | 16.12 | 20.59 | 26.26 | 112.05
Battery bank | kWh | 174.84 | 56.32 | 70.87 | 79.03 | 381.05
Diesel Genset 1 | kW | 4.77 | 0.98 | 1.28 | 1.87 | 8.9

## Cost
|  |  |  | Total | Step 1 | Step 2 | Step 3 | Step 4
Weighted Net present cost | System | - | kUSD | 122.388 | - | - | - | -
Net present cost | System | 1 | kUSD | 122.388 | - | - | - | -
Total Investment cost | System | - | kUSD | 91.852 | - | - | - | -
Total fixed O&M cost | System | - | kUSD | 14.956 | - | - | - | -
Total variable O&M cost | System | 1 | kUSD | 16.833 | - | - | - | -
Salvage value | System | - | kUSD | -1.254 | - | - | - | -
Levelized Cost of Energy | System | - | USD/kWh | 0.2376 | - | - | - | -
Levelized Cost of Energy scenarios | System | 1 | USD/kWh | 0.2376 | - | - | - | -
Investment cost | Solar PV | - | kUSD | 57.548 | 46.613 | 6.156 | 3.159 | 1.619
| Battery bank | - | kUSD | 32.107 | 26.226 | 3.395 | 1.717 | 0.769
| Diesel Genset 1 | - | kUSD | 2.197 | 1.909 | 0.157 | 0.082 | 0.048
Fixed cost | Solar PV | - | kUSD | 4.929 | - | - | - | -
| Battery bank | - | kUSD | 9.185 | - | - | - | -
| Diesel Genset 1 | - | kUSD | 0.842 | - | - | - | -
Lost load cost | System | 1 | kUSD | 0 | - | - | - | -
Replacement cost | Battery bank | 1 | kUSD | 5.545 | - | - | - | -
Fuel cost | Diesel | 1 | kUSD | 11.289 | - | - | - | -
Fuel CO2 emission | System | 1 | ton | 95.032 | - | - | - | -
RES CO2 emission | RES | - | ton | 0 | - | - | - | -
GEN CO2 emission | GEN | - | ton | 0 | - | - | - | -
BESS CO2 emission | BESS | - | ton | 0 | - | - | - | -
TOTAL CO2 emission | System | 1 | ton | 95.032 | - | - | - | -

## Yearly cash flows
| Fixed costs |  |  | Lost load cost | Replacement cost | Fuel cost
Component | Solar PV | Battery bank | Diesel Genset 1 | System | Battery bank | Diesel
Scenario | - | - | - | 1 | 1 | 1
Unit | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD
Year 1 | 0.84 | 1.57 | 0.15 | 0 | 0.93 | 0.56
Year 2 | 0.84 | 1.57 | 0.15 | 0 | 0.96 | 1.09
Year 3 | 0.84 | 1.57 | 0.15 | 0 | 0.97 | 2
Year 4 | 0.84 | 1.57 | 0.15 | 0 | 0.97 | 3.39
Year 5 | 0.84 | 1.57 | 0.15 | 0 | 0.96 | 5.24
Year 6 | 1.11 | 2.08 | 0.18 | 0 | 1.2 | 0.6
Year 7 | 1.11 | 2.08 | 0.18 | 0 | 1.24 | 1.15
Year 8 | 1.11 | 2.08 | 0.18 | 0 | 1.28 | 2.2
Year 9 | 1.11 | 2.08 | 0.18 | 0 | 1.29 | 3.98
Year 10 | 1.11 | 2.08 | 0.18 | 0 | 1.29 | 6.61
Year 11 | 1.47 | 2.72 | 0.22 | 0 | 1.53 | 0.7
Year 12 | 1.47 | 2.72 | 0.22 | 0 | 1.6 | 1.33
Year 13 | 1.47 | 2.72 | 0.22 | 0 | 1.65 | 2.63
Year 14 | 1.47 | 2.72 | 0.22 | 0 | 1.69 | 4.93
Year 15 | 1.47 | 2.72 | 0.22 | 0 | 1.69 | 8.64
Year 16 | 1.92 | 3.43 | 0.28 | 0 | 1.96 | 0.94
Year 17 | 1.92 | 3.43 | 0.28 | 0 | 2.04 | 1.9
Year 18 | 1.92 | 3.43 | 0.28 | 0 | 2.12 | 3.86
Year 19 | 1.92 | 3.43 | 0.28 | 0 | 2.16 | 7.42
Year 20 | 1.92 | 3.43 | 0.28 | 0 | 2.17 | 13.27

## Yearly energy parameters
| Generators share | Renewables penetration | Curtailment share | Battery usage
| % | % | % | %
Year 1 | 1.76 | 98.51 | 13.5 | 52.8
Year 2 | 3.1 | 97.27 | 10.23 | 51.74
Year 3 | 5.16 | 95.33 | 7.69 | 49.95
Year 4 | 7.92 | 92.69 | 5.86 | 47.53
Year 5 | 11.11 | 89.59 | 4.57 | 44.77
Year 6 | 1.15 | 99.06 | 16.3 | 53.19
Year 7 | 2 | 98.3 | 12.83 | 52.61
Year 8 | 3.48 | 96.93 | 9.79 | 51.41
Year 9 | 5.71 | 94.82 | 7.41 | 49.49
Year 10 | 8.61 | 92.04 | 5.73 | 46.97
Year 11 | 0.82 | 99.34 | 18.58 | 53.36
Year 12 | 1.42 | 98.81 | 14.99 | 53.02
Year 13 | 2.56 | 97.79 | 11.7 | 52.16
Year 14 | 4.35 | 96.12 | 8.92 | 50.67
Year 15 | 6.9 | 93.7 | 6.86 | 48.48
Year 16 | 0.68 | 99.47 | 20.35 | 53.39
Year 17 | 1.25 | 98.98 | 16.8 | 53.08
Year 18 | 2.3 | 98.05 | 13.49 | 52.3
Year 19 | 4.02 | 96.49 | 10.66 | 50.87
Year 20 | 6.51 | 94.16 | 8.57 | 48.73

## Yearly energy parameters SC
| Generator share | Renewable penetration | Curtailment share | Battery usage
Component | Diesel Genset 1 | Solar PV | - | Battery bank
Scenario | 1 | 1 | 1 | 1
| % | % | % | %
Year 1 | 1.76 | 98.51 | 13.5 | 52.8
Year 2 | 3.1 | 97.27 | 10.23 | 51.74
Year 3 | 5.16 | 95.33 | 7.69 | 49.95
Year 4 | 7.92 | 92.69 | 5.86 | 47.53
Year 5 | 11.11 | 89.59 | 4.57 | 44.77
Year 6 | 1.15 | 99.06 | 16.3 | 53.19
Year 7 | 2 | 98.3 | 12.83 | 52.61
Year 8 | 3.48 | 96.93 | 9.79 | 51.41
Year 9 | 5.71 | 94.82 | 7.41 | 49.49
Year 10 | 8.61 | 92.04 | 5.73 | 46.97
Year 11 | 0.82 | 99.34 | 18.58 | 53.36
Year 12 | 1.42 | 98.81 | 14.99 | 53.02
Year 13 | 2.56 | 97.79 | 11.7 | 52.16
Year 14 | 4.35 | 96.12 | 8.92 | 50.67
Year 15 | 6.9 | 93.7 | 6.86 | 48.48
Year 16 | 0.68 | 99.47 | 20.35 | 53.39
Year 17 | 1.25 | 98.98 | 16.8 | 53.08
Year 18 | 2.3 | 98.05 | 13.49 | 52.3
Year 19 | 4.02 | 96.49 | 10.66 | 50.87
Year 20 | 6.51 | 94.16 | 8.57 | 48.73