## Size
Component | Unit | Total
Solar PV | kW | 54.18
Wind Turbine | kW | 0
Battery bank | kWh | 187.14
Diesel Genset 1 | kW | 20

## Cost
Total
Weighted Net present cost | System | - | kUSD | 131.944
Net present cost | System | 1 | kUSD | 131.944
Total Investment cost | System | - | kUSD | 87.545
Total fixed O&M cost | System | - | kUSD | 15.83
Total variable O&M cost | System | 1 | kUSD | 28.838
Salvage value | System | - | kUSD | -0.269
Levelized Cost of Energy | System | - | USD/kWh | 0.2562
Levelized Cost of Energy scenarios | System | 1 | USD/kWh | 0.2562
Investment cost | Solar PV | - | kUSD | 51.475
| Wind Turbine | - | kUSD | 0
| Battery bank | - | kUSD | 28.07
| Diesel Genset 1 | - | kUSD | 7.999
Fixed cost | Solar PV | - | kUSD | 4.512
| Wind Turbine | - | kUSD | 0
| Battery bank | - | kUSD | 8.201
| Diesel Genset 1 | - | kUSD | 3.116
Lost load cost | System | 1 | kUSD | 0
Replacement cost | Battery bank | 1 | kUSD | 4.793
Fuel cost | Diesel | 1 | kUSD | 24.045
Fuel CO2 emission | System | 1 | ton | 668.487
RES CO2 emission | RES | - | ton | 0
GEN CO2 emission | GEN | - | ton | 0
BESS CO2 emission | BESS | - | ton | 0
TOTAL CO2 emission | System | 1 | ton | 668.487

## Yearly cash flows
| Fixed costs |  |  |  | Lost load cost | Replacement cost | Fuel cost
Component | Solar PV | Wind Turbine | Battery bank | Diesel Genset 1 | System | Battery bank | Diesel
Scenario | - | - | - | - | 1 | 1 | 1
Unit | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD
Year 1 | 0.93 | 0 | 1.68 | 0.64 | 0 | 0.94 | 0.18
Year 2 | 0.93 | 0 | 1.68 | 0.64 | 0 | 0.99 | 0.37
Year 3 | 0.93 | 0 | 1.68 | 0.64 | 0 | 1.02 | 0.7
Year 4 | 0.93 | 0 | 1.68 | 0.64 | 0 | 1.05 | 1.29
Year 5 | 0.93 | 0 | 1.68 | 0.64 | 0 | 1.06 | 2.24
Year 6 | 0.93 | 0 | 1.68 | 0.64 | 0 | 1.05 | 3.55
Year 7 | 0.93 | 0 | 1.68 | 0.64 | 0 | 1.04 | 5.08
Year 8 | 0.93 | 0 | 1.68 | 0.64 | 0 | 1.02 | 6.73
Year 9 | 0.93 | 0 | 1.68 | 0.64 | 0 | 1 | 8.51
Year 10 | 0.93 | 0 | 1.68 | 0.64 | 0 | 0.97 | 10.44
Year 11 | 0.93 | 0 | 1.68 | 0.64 | 0 | 0.94 | 12.58
Year 12 | 0.93 | 0 | 1.68 | 0.64 | 0 | 0.91 | 14.91
Year 13 | 0.93 | 0 | 1.68 | 0.64 | 0 | 0.87 | 17.41
Year 14 | 0.93 | 0 | 1.68 | 0.64 | 0 | 0.83 | 20.09
Year 15 | 0.93 | 0 | 1.68 | 0.64 | 0 | 0.79 | 22.96
Year 16 | 0.93 | 0 | 1.68 | 0.64 | 0 | 0.75 | 26.02
Year 17 | 0.93 | 0 | 1.68 | 0.64 | 0 | 0.73 | 29.28
Year 18 | 0.93 | 0 | 1.68 | 0.64 | 0 | 0.72 | 32.74
Year 19 | 0.93 | 0 | 1.68 | 0.64 | 0 | 0.76 | 36.42
Year 20 | 0.93 | 0 | 1.68 | 0.64 | 0 | 0.83 | 40.32

## Yearly energy parameters
| Generators share | Renewables penetration | Curtailment share | Battery usage
| % | % | % | %
Year 1 | 0.58 | 99.55 | 20.83 | 53.45
Year 2 | 1.11 | 99.1 | 17.14 | 53.18
Year 3 | 1.99 | 98.32 | 13.7 | 52.56
Year 4 | 3.5 | 96.94 | 10.7 | 51.33
Year 5 | 5.78 | 94.81 | 8.37 | 49.32
Year 6 | 8.72 | 92.02 | 6.73 | 46.68
Year 7 | 11.87 | 88.97 | 5.42 | 43.82
Year 8 | 14.99 | 85.89 | 4.24 | 41.02
Year 9 | 18.04 | 82.8 | 3.17 | 38.29
Year 10 | 21.08 | 79.69 | 2.26 | 35.59
Year 11 | 24.2 | 76.5 | 1.59 | 32.84
Year 12 | 27.31 | 73.32 | 1.07 | 30.13
Year 13 | 30.37 | 70.17 | 0.69 | 27.49
Year 14 | 33.38 | 67.09 | 0.41 | 24.93
Year 15 | 36.33 | 64.08 | 0.21 | 22.55
Year 16 | 39.21 | 61.15 | 0.1 | 20.47
Year 17 | 42.02 | 58.32 | 0.03 | 18.88
Year 18 | 44.75 | 55.58 | 0.01 | 17.89
Year 19 | 47.41 | 52.94 | 0 | 17.82
Year 20 | 49.98 | 50.4 | 0 | 18.56

## Yearly energy parameters SC
| Generator share | Renewable penetration |  | Curtailment share | Battery usage
Component | Diesel Genset 1 | Solar PV | Wind Turbine | - | Battery bank
Scenario | 1 | 1 | 1 | 1 | 1
| % | % | % | % | %
Year 1 | 0.58 | 99.55 | 0 | 20.83 | 53.45
Year 2 | 1.11 | 99.1 | 0 | 17.14 | 53.18
Year 3 | 1.99 | 98.32 | 0 | 13.7 | 52.56
Year 4 | 3.5 | 96.94 | 0 | 10.7 | 51.33
Year 5 | 5.78 | 94.81 | 0 | 8.37 | 49.32
Year 6 | 8.72 | 92.02 | 0 | 6.73 | 46.68
Year 7 | 11.87 | 88.97 | 0 | 5.42 | 43.82
Year 8 | 14.99 | 85.89 | 0 | 4.24 | 41.02
Year 9 | 18.04 | 82.8 | 0 | 3.17 | 38.29
Year 10 | 21.08 | 79.69 | 0 | 2.26 | 35.59
Year 11 | 24.2 | 76.5 | 0 | 1.59 | 32.84
Year 12 | 27.31 | 73.32 | 0 | 1.07 | 30.13
Year 13 | 30.37 | 70.17 | 0 | 0.69 | 27.49
Year 14 | 33.38 | 67.09 | 0 | 0.41 | 24.93
Year 15 | 36.33 | 64.08 | 0 | 0.21 | 22.55
Year 16 | 39.21 | 61.15 | 0 | 0.1 | 20.47
Year 17 | 42.02 | 58.32 | 0 | 0.03 | 18.88
Year 18 | 44.75 | 55.58 | 0 | 0.01 | 17.89
Year 19 | 47.41 | 52.94 | 0 | 0 | 17.82
Year 20 | 49.98 | 50.4 | 0 | 0 | 18.56