## Size
Component | Unit | Total
PV panels | kW | 88.61
Battery bank | kWh | 276.21
Diesel Genset | kW | 4.29

## Cost
Cost item | Component | Scenario | Unit | Total
Net present cost | System | - | kUSD | 139.802
Total Investment cost | System | - | kUSD | 204.719
Total fixed O&M cost | System | - | kUSD | 84.824
Total variable O&M cost | System | - | kUSD | 84.328
Salvage value | System | - | kUSD | -234.069
Levelized Cost of Energy | System | - | USD/kWh | 0.1508
Investment cost | PV panels | - | kUSD | 106.329
| Battery bank | - | kUSD | 96.673
| Diesel Genset | - | kUSD | 1.716
| National grid | - | kUSD | 0
Fixed cost | PV panels | - | kUSD | 18.105
| Battery bank | - | kUSD | 7.734
| Diesel Genset | - | kUSD | 0.877
Lost load cost | System | 1 | kUSD | 0
Replacement cost | Battery bank | 1 | kUSD | 48.184
Fuel cost | Diesel | 1 | kUSD | 36.144
Grid electricity cost | National Grid | - | kUSD | 0
Grid electricity revenue | National Grid | - | kUSD | 0

## Yearly cash flows
| Fixed costs |  |  | Lost load cost | Replacement cost | Fuel cost | Grid cost | Grid revenue
Component | PV panels | Battery bank | Diesel Genset | System | Battery bank | Diesel | Grid | Grid
Scenario | - | - | - | 1 | 1 | 1 | 1 | 1
Unit | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD
Year 1 | 2.13 | 7.73 | 0.1 | 0 | 5.65 | 4.25 | 0 | 0
Year 2 | 2.13 | 7.73 | 0.1 | 0 | 5.66 | 4.25 | 0 | 0
Year 3 | 2.13 | 7.73 | 0.1 | 0 | 5.66 | 4.25 | 0 | 0
Year 4 | 2.13 | 7.73 | 0.1 | 0 | 5.66 | 4.25 | 0 | 0
Year 5 | 2.13 | 7.73 | 0.1 | 0 | 5.66 | 4.25 | 0 | 0
Year 6 | 2.13 | 7.73 | 0.1 | 0 | 5.66 | 4.25 | 0 | 0
Year 7 | 2.13 | 7.73 | 0.1 | 0 | 5.66 | 4.25 | 0 | 0
Year 8 | 2.13 | 7.73 | 0.1 | 0 | 5.66 | 4.25 | 0 | 0
Year 9 | 2.13 | 7.73 | 0.1 | 0 | 5.66 | 4.25 | 0 | 0
Year 10 | 2.13 | 7.73 | 0.1 | 0 | 5.66 | 4.25 | 0 | 0
Year 11 | 2.13 | 7.73 | 0.1 | 0 | 5.66 | 4.25 | 0 | 0
Year 12 | 2.13 | 7.73 | 0.1 | 0 | 5.66 | 4.25 | 0 | 0
Year 13 | 2.13 | 7.73 | 0.1 | 0 | 5.66 | 4.25 | 0 | 0
Year 14 | 2.13 | 7.73 | 0.1 | 0 | 5.66 | 4.25 | 0 | 0
Year 15 | 2.13 | 7.73 | 0.1 | 0 | 5.66 | 4.25 | 0 | 0
Year 16 | 2.13 | 7.73 | 0.1 | 0 | 5.66 | 4.25 | 0 | 0
Year 17 | 2.13 | 7.73 | 0.1 | 0 | 5.66 | 4.25 | 0 | 0
Year 18 | 2.13 | 7.73 | 0.1 | 0 | 5.66 | 4.25 | 0 | 0
Year 19 | 2.13 | 7.73 | 0.1 | 0 | 5.66 | 4.25 | 0 | 0
Year 20 | 2.13 | 7.73 | 0.1 | 0 | 5.66 | 4.25 | 0 | 0

## Yearly energy parameters
| Generators share | Renewables penetration | Curtailment share | Battery usage | Grid usage
| % | % | % | % | %
Year 1 | 5.37 | 95.77 | 15.32 | 48.2 | 0
Year 2 | 5.37 | 95.77 | 15.23 | 48.2 | 0
Year 3 | 5.37 | 95.77 | 15.23 | 48.2 | 0
Year 4 | 5.37 | 95.77 | 15.23 | 48.2 | 0
Year 5 | 5.37 | 95.77 | 15.23 | 48.2 | 0
Year 6 | 5.37 | 95.77 | 15.23 | 48.2 | 0
Year 7 | 5.37 | 95.77 | 15.23 | 48.2 | 0
Year 8 | 5.37 | 95.77 | 15.23 | 48.2 | 0
Year 9 | 5.37 | 95.77 | 15.23 | 48.2 | 0
Year 10 | 5.37 | 95.77 | 15.23 | 48.2 | 0
Year 11 | 5.37 | 95.77 | 15.23 | 48.2 | 0
Year 12 | 5.37 | 95.77 | 15.23 | 48.21 | 0
Year 13 | 5.37 | 95.77 | 15.23 | 48.21 | 0
Year 14 | 5.37 | 95.77 | 15.23 | 48.21 | 0
Year 15 | 5.37 | 95.77 | 15.23 | 48.21 | 0
Year 16 | 5.37 | 95.77 | 15.23 | 48.21 | 0
Year 17 | 5.37 | 95.77 | 15.23 | 48.21 | 0
Year 18 | 5.37 | 95.77 | 15.23 | 48.21 | 0
Year 19 | 5.37 | 95.77 | 15.23 | 48.21 | 0
Year 20 | 5.37 | 95.77 | 15.26 | 48.21 | 0