## Size
Component | Unit | Total
PV panels | kW | 81.85
Wind turbines | kW | 0
Battery bank | kWh | 161.33
Diesel Genset | kW | 9.43

## Cost
Cost item | Component | Scenario | Unit | Total
Weighted Net present cost | System | - | kUSD | 131.404
Net present cost | System | 1 | kUSD | 131.404
Total Investment cost | System | - | kUSD | 258.82
Total fixed O&M cost | System | - | kUSD | 20.123
Total variable O&M cost | System | 1 | kUSD | -20.123
Salvage value | System | - | kUSD | -127.417
Levelized Cost of Energy | System | - | USD/kWh | 0.3483
Levelized Cost of Energy scenarios | System | 1 | USD/kWh | 0.3483
Investment cost | PV panels | - | kUSD | 83.741
| Wind turbines | - | kUSD | 0
| Battery bank | - | kUSD | 35.272
| Diesel Genset | - | kUSD | 0.886
| National grid | - | kUSD | 138.92
Fixed cost | PV panels | - | kUSD | 6.578
| Wind turbines | - | kUSD | 0
| Battery bank | - | kUSD | 0.71
| Diesel Genset | - | kUSD | 0.322
| National Grid | - | kUSD | 10.532
Lost load cost | System | 1 | kUSD | 0
Replacement cost | Battery bank | 1 | kUSD | 4.441
Fuel cost | Diesel | 1 | kUSD | 0.024
Grid electricity cost | National Grid | 1 | kUSD | 23.433
Grid electricity revenue | National Grid | 1 | kUSD | 48.021
Fuel CO2 emission | System | 1 | ton | 0.103
Grid CO2 emission | System | 1 | ton | 34.193
RES CO2 emission | RES | - | ton | 0
GEN CO2 emission | GEN | - | ton | 0
BESS CO2 emission | BESS | - | ton | 0
TOTAL CO2 emission | System | 1 | ton | 34.296

## Yearly cash flows
| Fixed costs |  |  |  |  | Lost load cost | Replacement cost | Fuel cost | Grid cost | Grid revenue
Component | PV panels | Wind turbines | Battery bank | Diesel Genset | Grid | System | Battery bank | Diesel | Grid | Grid
Scenario | - | - | - | - | - | 1 | 1 | 1 | 1 | 1
Unit | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD
Year 1 | 1.74 | 0 | 0.71 | 0.08 | 2.78 | 0 | 1.18 | 0 | 2.84 | 14.41
Year 2 | 1.74 | 0 | 0.71 | 0.08 | 2.78 | 0 | 1.18 | 0 | 2.83 | 14.43
Year 3 | 1.74 | 0 | 0.71 | 0.08 | 2.78 | 0 | 1.18 | 0 | 2.83 | 14.44
Year 4 | 1.74 | 0 | 0.71 | 0.08 | 2.78 | 0 | 1.16 | 0.01 | 11.19 | 9.96
Year 5 | 1.74 | 0 | 0.71 | 0.08 | 2.78 | 0 | 1.16 | 0.02 | 14.08 | 8.61

## Yearly energy parameters
| Generators share | Renewables penetration | Curtailment share | Battery usage | Grid usage
| % | % | % | % | %
Year 1 | 0 | 91.73 | 0.09 | 34.85 | 15.12
Year 2 | 0.01 | 91.74 | 0.02 | 34.83 | 15.11
Year 3 | 0 | 91.75 | 0 | 34.85 | 15.09
Year 4 | 0.03 | 73.76 | 0 | 20.38 | 35.37
Year 5 | 0.04 | 69.08 | 0 | 17.86 | 39.24

## Yearly energy parameters SC
| Generator share | Renewable penetration |  | Curtailment share | Battery usage | Grid usage
Component | Diesel Genset | PV panels | Wind turbines | - | Battery bank | Grid
Scenario | 1 | 1 | 1 | 1 | 1 | 1
| % | % | % | % | % | %
Year 1 | 0 | 91.73 | 0 | 0.09 | 34.85 | 15.12
Year 2 | 0.01 | 91.74 | 0 | 0.02 | 34.83 | 15.11
Year 3 | 0 | 91.75 | 0 | 0 | 34.85 | 15.09
Year 4 | 0.03 | 73.76 | 0 | 0 | 20.38 | 35.37
Year 5 | 0.04 | 69.08 | 0 | 0 | 17.86 | 39.24