## Size
Component | Unit | Total
PV panels | kW | 80.2
Wind turbines | kW | 0.01
Battery bank | kWh | 0.27
Diesel Genset | kW | 59.68

## Cost
Cost item | Component | Scenario | Unit | Total
Net present cost | System | - | kUSD | 858.56
Total Investment cost | System | - | kUSD | 212.552
Total fixed O&M cost | System | - | kUSD | 38.224
Total variable O&M cost | System | - | kUSD | 607.784
Salvage value | System | - | kUSD | 0
Levelized Cost of Energy | System | - | USD/kWh | 0.3042
Investment cost | PV panels | - | kUSD | 200.507
| Wind turbines | - | kUSD | 0.027
| Battery bank | - | kUSD | 0.081
| Diesel Genset | - | kUSD | 11.937
Fixed cost | PV panels | - | kUSD | 34.141
| Wind turbines | - | kUSD | 0.005
| Battery bank | - | kUSD | 0.002
| Diesel Genset | - | kUSD | 4.065
Lost load cost | System | 1 | kUSD | 0
Replacement cost | Battery bank | 1 | kUSD | 0.016
Fuel cost | Diesel | 1 | kUSD | 607.768

## Yearly cash flows
| Fixed costs |  |  |  | Lost load cost | Replacement cost | Fuel cost
Component | PV panels | Wind turbines | Battery bank | Diesel Genset | System | Battery bank | Diesel
Scenario | - | - | - | - | 1 | 1 | 1
Unit | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD
Year 1 | 4.01 | 0 | 0 | 0.48 | 0 | 0 | 71.39
Year 2 | 4.01 | 0 | 0 | 0.48 | 0 | 0 | 71.39
Year 3 | 4.01 | 0 | 0 | 0.48 | 0 | 0 | 71.39
Year 4 | 4.01 | 0 | 0 | 0.48 | 0 | 0 | 71.39
Year 5 | 4.01 | 0 | 0 | 0.48 | 0 | 0 | 71.39
Year 6 | 4.01 | 0 | 0 | 0.48 | 0 | 0 | 71.39
Year 7 | 4.01 | 0 | 0 | 0.48 | 0 | 0 | 71.39
Year 8 | 4.01 | 0 | 0 | 0.48 | 0 | 0 | 71.39
Year 9 | 4.01 | 0 | 0 | 0.48 | 0 | 0 | 71.39
Year 10 | 4.01 | 0 | 0 | 0.48 | 0 | 0 | 71.39
Year 11 | 4.01 | 0 | 0 | 0.48 | 0 | 0 | 71.39
Year 12 | 4.01 | 0 | 0 | 0.48 | 0 | 0 | 71.39
Year 13 | 4.01 | 0 | 0 | 0.48 | 0 | 0 | 71.39
Year 14 | 4.01 | 0 | 0 | 0.48 | 0 | 0 | 71.39
Year 15 | 4.01 | 0 | 0 | 0.48 | 0 | 0 | 71.39
Year 16 | 4.01 | 0 | 0 | 0.48 | 0 | 0 | 71.39
Year 17 | 4.01 | 0 | 0 | 0.48 | 0 | 0 | 71.39
Year 18 | 4.01 | 0 | 0 | 0.48 | 0 | 0 | 71.39
Year 19 | 4.01 | 0 | 0 | 0.48 | 0 | 0 | 71.39
Year 20 | 4.01 | 0 | 0 | 0.48 | 0 | 0 | 71.39

## Yearly energy parameters
| Generators share | Renewables penetration | Curtailment share | Battery usage
| % | % | % | %
Year 1 | 65.5 | 35.55 | 1.59 | 0.01
Year 2 | 65.5 | 35.55 | 1.59 | 0.01
Year 3 | 65.5 | 35.55 | 1.59 | 0.01
Year 4 | 65.5 | 35.55 | 1.59 | 0.01
Year 5 | 65.5 | 35.55 | 1.59 | 0.01
Year 6 | 65.5 | 35.55 | 1.59 | 0.01
Year 7 | 65.5 | 35.55 | 1.59 | 0.01
Year 8 | 65.5 | 35.55 | 1.59 | 0.01
Year 9 | 65.5 | 35.55 | 1.59 | 0.01
Year 10 | 65.5 | 35.55 | 1.59 | 0.01
Year 11 | 65.5 | 35.55 | 1.6 | 0.01
Year 12 | 65.5 | 35.55 | 1.6 | 0.01
Year 13 | 65.5 | 35.55 | 1.6 | 0.01
Year 14 | 65.5 | 35.55 | 1.6 | 0.01
Year 15 | 65.5 | 35.55 | 1.6 | 0.01
Year 16 | 65.5 | 35.55 | 1.6 | 0.01
Year 17 | 65.5 | 35.55 | 1.6 | 0.01
Year 18 | 65.5 | 35.55 | 1.6 | 0.01
Year 19 | 65.5 | 35.55 | 1.6 | 0.01
Year 20 | 65.5 | 35.55 | 1.6 | 0.01