## Size
Component | Unit | Total
PV panels | kW | 156.94
Battery bank | kWh | 436.17
Diesel Genset | kW | 24.68

## Cost
Cost item | Component | Scenario | Unit | Total
Weighted Net present cost | System | - | kUSD | 856.13
Net present cost | System | 1 | kUSD | 856.13
Total Investment cost | System | - | kUSD | 887.96
Total fixed O&M cost | System | - | kUSD | 165.155
Total variable O&M cost | System | 1 | kUSD | -47.031
Salvage value | System | - | kUSD | -149.954
Levelized Cost of Energy | System | - | USD/kWh | 0.4666
Levelized Cost of Energy scenarios | System | 1 | USD/kWh | 0.0009
Investment cost | PV panels | - | kUSD | 134.557
| Battery bank | - | kUSD | 7.254
| Diesel Genset | - | kUSD | 9.873
| National grid | - | kUSD | 736.276
Fixed cost | PV panels | - | kUSD | 26.689
| Battery bank | - | kUSD | 15.395
| Diesel Genset | - | kUSD | 4.95
| National Grid | - | kUSD | 118.122
Lost load cost | System | 1 | kUSD | 0
Replacement cost | Battery bank | 1 | kUSD | 24.666
Fuel cost | Diesel | 1 | kUSD | 0.158
Grid electricity cost | National Grid | 1 | kUSD | 88.797
Grid electricity revenue | National Grid | 1 | kUSD | 160.652
Fuel CO2 emission | System | 1 | ton | 1.262
Grid CO2 emission | System | 1 | ton | 76.322
RES CO2 emission | RES | - | ton | 0
GEN CO2 emission | GEN | - | ton | 0
BESS CO2 emission | BESS | - | ton | 0
TOTAL CO2 emission | System | 1 | ton | 77.584

## Yearly cash flows
| Fixed costs |  |  |  | Lost load cost | Replacement cost | Fuel cost | Grid cost | Grid revenue
Component | PV panels | Battery bank | Diesel Genset | Grid | System | Battery bank | Diesel | Grid | Grid
Scenario | - | - | - | - | 1 | 1 | 1 | 1 | 1
Unit | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD
Year 1 | 3.33 | 1.92 | 0.62 | 14.73 | 0 | 2.94 | 0 | 0.67 | 30.07
Year 2 | 3.33 | 1.92 | 0.62 | 14.73 | 0 | 3.14 | 0 | 1.78 | 27.27
Year 3 | 3.33 | 1.92 | 0.62 | 14.73 | 0 | 3.15 | 0 | 2.27 | 27
Year 4 | 3.33 | 1.92 | 0.62 | 14.73 | 0 | 3.14 | 0 | 4.53 | 25.31
Year 5 | 3.33 | 1.92 | 0.62 | 14.73 | 0 | 3.12 | 0.02 | 9.21 | 20.49
Year 6 | 3.33 | 1.92 | 0.62 | 14.73 | 0 | 3.11 | 0 | 9.81 | 19.52
Year 7 | 3.33 | 1.92 | 0.62 | 14.73 | 0 | 3.09 | 0.01 | 15.95 | 16.46
Year 8 | 3.33 | 1.92 | 0.62 | 14.73 | 0 | 3.09 | 0.09 | 15.99 | 16.47
Year 9 | 3.33 | 1.92 | 0.62 | 14.73 | 0 | 3.08 | 0.01 | 16.72 | 15.92
Year 10 | 3.33 | 1.92 | 0.62 | 14.73 | 0 | 3.08 | 0.05 | 16.98 | 15.78
Year 11 | 3.33 | 1.92 | 0.62 | 14.73 | 0 | 3.04 | 0.07 | 19.9 | 12.1
Year 12 | 3.33 | 1.92 | 0.62 | 14.73 | 0 | 3.03 | 0.07 | 19.96 | 12.1
Year 13 | 3.33 | 1.92 | 0.62 | 14.73 | 0 | 3.03 | 0.04 | 21.52 | 11.24
Year 14 | 3.33 | 1.92 | 0.62 | 14.73 | 0 | 3.02 | 0.01 | 23.01 | 10.38
Year 15 | 3.33 | 1.92 | 0.62 | 14.73 | 0 | 3.01 | 0.05 | 24.02 | 9.75
Year 16 | 3.33 | 1.92 | 0.62 | 14.73 | 0 | 3.01 | 0 | 24.06 | 9.83
Year 17 | 3.33 | 1.92 | 0.62 | 14.73 | 0 | 3.01 | 0.03 | 24.04 | 9.82

## Yearly energy parameters
| Generators share | Renewables penetration | Curtailment share | Battery usage | Grid usage
| % | % | % | % | %
Year 1 | 0 | 98.88 | 0.13 | 51.67 | 2.44
Year 2 | 0 | 97.1 | 0.15 | 48.5 | 5.66
Year 3 | 0 | 96.33 | 0.12 | 47.5 | 7.06
Year 4 | 0 | 92.94 | 0.32 | 42.37 | 12.58
Year 5 | 0.02 | 86.6 | 0.09 | 33.09 | 20.16
Year 6 | 0 | 85.86 | 0.2 | 31.99 | 20.79
Year 7 | 0.02 | 78.88 | 0.24 | 26.54 | 28.27
Year 8 | 0.1 | 78.78 | 0.06 | 26.45 | 28.25
Year 9 | 0.01 | 78.09 | 0.09 | 25.82 | 28.91
Year 10 | 0.05 | 77.79 | 0.25 | 25.69 | 29.2
Year 11 | 0.07 | 74.92 | 0.11 | 22.7 | 30.66
Year 12 | 0.06 | 74.87 | 0.08 | 22.65 | 30.72
Year 13 | 0.04 | 73.45 | 0.09 | 21.84 | 31.94
Year 14 | 0.01 | 72.14 | 0 | 21 | 32.97
Year 15 | 0.05 | 71.25 | 0.07 | 20.48 | 33.63
Year 16 | 0 | 71.24 | 0 | 20.47 | 33.71
Year 17 | 0.02 | 71.24 | 0 | 20.46 | 33.67

## Yearly energy parameters SC
| Generator share | Renewable penetration | Curtailment share | Battery usage | Grid usage
Component | Diesel Genset | PV panels | - | Battery bank | Grid
Scenario | 1 | 1 | 1 | 1 | 1
| % | % | % | % | %
Year 1 | 0 | 98.88 | 0.13 | 51.67 | 2.44
Year 2 | 0 | 97.1 | 0.15 | 48.5 | 5.66
Year 3 | 0 | 96.33 | 0.12 | 47.5 | 7.06
Year 4 | 0 | 92.94 | 0.32 | 42.37 | 12.58
Year 5 | 0.02 | 86.6 | 0.09 | 33.09 | 20.16
Year 6 | 0 | 85.86 | 0.2 | 31.99 | 20.79
Year 7 | 0.02 | 78.88 | 0.24 | 26.54 | 28.27
Year 8 | 0.1 | 78.78 | 0.06 | 26.45 | 28.25
Year 9 | 0.01 | 78.09 | 0.09 | 25.82 | 28.91
Year 10 | 0.05 | 77.79 | 0.25 | 25.69 | 29.2
Year 11 | 0.07 | 74.92 | 0.11 | 22.7 | 30.66
Year 12 | 0.06 | 74.87 | 0.08 | 22.65 | 30.72
Year 13 | 0.04 | 73.45 | 0.09 | 21.84 | 31.94
Year 14 | 0.01 | 72.14 | 0 | 21 | 32.97
Year 15 | 0.05 | 71.25 | 0.07 | 20.48 | 33.63
Year 16 | 0 | 71.24 | 0 | 20.47 | 33.71
Year 17 | 0.02 | 71.24 | 0 | 20.46 | 33.67