## Size
Component | Unit | Total
PV panels | kW | 16.08
Wind turbines | kW | 0
Battery bank | kWh | 0.01
Diesel Genset | kW | 61.79

## Cost
Cost item | Component | Scenario | Unit | Total
Net present cost | System | - | kUSD | 111.403
Total Investment cost | System | - | kUSD | 82.859
Total fixed O&M cost | System | - | kUSD | 3.841
Total variable O&M cost | System | - | kUSD | 86.332
Salvage value | System | - | kUSD | -61.629
Levelized Cost of Energy | System | - | USD/kWh | 0.383
Investment cost | PV panels | - | kUSD | 64.318
| Wind turbines | - | kUSD | 0
| Battery bank | - | kUSD | 0.002
| Diesel Genset | - | kUSD | 18.538
Fixed cost | PV panels | - | kUSD | 2.233
| Wind turbines | - | kUSD | 0
| Battery bank | - | kUSD | 0
| Diesel Genset | - | kUSD | 1.609
Lost load cost | System | 1 | kUSD | 0
Replacement cost | Battery bank | 1 | kUSD | 0
Fuel cost | Diesel | 1 | kUSD | 86.331

## Yearly cash flows
| Fixed costs |  |  |  | Lost load cost | Replacement cost | Fuel cost
Component | PV panels | Wind turbines | Battery bank | Diesel Genset | System | Battery bank | Diesel
Scenario | - | - | - | - | 1 | 1 | 1
Unit | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD | kUSD
Year 1 | 1.29 | 0 | 0 | 0.93 | 0 | 0 | 49.74
Year 2 | 1.29 | 0 | 0 | 0.93 | 0 | 0 | 49.74

## Yearly energy parameters
| Generators share | Renewables penetration | Curtailment share | Battery usage
| % | % | % | %
Year 1 | 79.66 | 20.83 | 0.61 | 0
Year 2 | 79.66 | 20.83 | 0.61 | 0